| MFE NO: | Date: |  | Page 1 of 5 |
| --- | --- | --- | --- |

SECTION A: GENERAL INFORMATION

Date of Inspection:                                                                       Client  Name:

Location:                                                                                       Tank Number/ID

Client:

Inspection Team:

SECTION B: MANAGEMENT LEADERSHIP AND HSSE COMPLIANCE

Scoring: Compliance = 1   Non-Compliance = 0   N/A = Not Applicable

| S/N | Control Criteria | C | NC | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Management visibly engaged with workforce |  |  |  |  |
| 2 | Daily Toolbox Talk conducted |  |  |  |  |
| 3 | Task Risk Assessment/JSA available and understood |  |  |  |  |
| 4 | Valid Permit to Work displayed |  |  |  |  |
| 5 | SIMOPS effectively managed |  |  |  |  |
| 6 | Emergency response arrangements adequate |  |  |  |  |
| 7 | Personnel medically fit |  |  |  |  |
| 8 | Competency certificates available |  |  |  |  |
| 9 | Good housekeeping maintained |  |  |  |  |
| 10 | Safe access and egress maintained |  |  |  |  |
| 11 | Adequate welfare available |  |  |  |  |
| 12 | Security arrangements adequate |  |  |  |  |
| 13 | Stop Work Authority understood |  |  |  |  |
| 14 | PPE Compliance |  |  |  |  |
| 15 | Previous inspection actions closed out |  |  |  |  |

SECTION C: ZERO-MAN ENTRY OPERATIONS

| S/N | Control Criteria | C | NC | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 16 | Tank cleaning carried out without personnel entry |  |  |  |  |
| 17 | Remote cleaning equipment functioning properly |  |  |  |  |
| 18 | High-pressure cleaning hoses inspected |  |  |  |  |
| 19 | No unauthorized tank entry |  |  |  |  |
| 20 | Remote cameras/monitoring operational |  |  |  |  |
| 21 | Emergency isolation arrangements available |  |  |  |  |
| 22 | Gas testing records available |  |  |  |  |
| 23 | Continuous atmospheric monitoring |  |  |  |  |
| 24 | Confined Space Rescue Plan available (if required) |  |  |  |  |
| 25 | Exclusion zone established |  |  |  |  |
| 26 | Barricades and warning signs adequate |  |  |  |  |

SECTION D: SLUDGE REMOVAL OPERATIONS

| S/N | Control Criteria | C | NC | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 27 | Vacuum trucks certified |  |  |  |  |
| 28 | Transfer hoses inspected |  |  |  |  |
| 29 | Hose restraints installed |  |  |  |  |
| 30 | Connections leak-free |  |  |  |  |
| 31 | Spill containment provided |  |  |  |  |
| 32 | Transfer pumps inspected |  |  |  |  |
| 33 | Sludge storage containers labelled |  |  |  |  |
| 34 | Waste compatibility verified |  |  |  |  |
| 35 | Waste quantities recorded |  |  |  |  |
| 36 | Waste manifests maintained |  |  |  |  |

SECTION E: ENVIRONMENTAL MANAGEMENT

| S/N | Control Criteria | C | NC | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 37 | Spill kits available |  |  |  |  |
| 38 | No evidence of hydrocarbon release |  |  |  |  |
| 39 | Waste segregation practiced |  |  |  |  |
| 40 | Contaminated materials stored properly |  |  |  |  |
| 41 | Waste transported by approved transporter |  |  |  |  |
| 42 | Waste treatment records available |  |  |  |  |
| 43 | Noise adequately controlled |  |  |  |  |
| 44 | Dust/vapour emissions controlled |  |  |  |  |
| 45 | Environmental monitoring conducted |  |  |  |  |
| 46 | Drainage protected from contamination |  |  |  |  |

SECTION F: EQUIPMENT INSPECTION

| S/N | EQUIPMENT | C | NC | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
| 47 | Automatic Tank Cleaning Machine |  |  |  |  |
| 48 | Vacuum Truck |  |  |  |  |
| 49 | Vacuum Pump |  |  |  |  |
| 50 | High Pressure Pump |  |  |  |  |
| 51 | Flexible Hoses |  |  |  |  |
| 52 | Hose Couplings |  |  |  |  |
| 53 | Generator |  |  |  |  |
| 54 | Compressed Air System |  |  |  |  |
| 55 | Portable Gas Detectors |  |  |  |  |
| 56 | Fire Extinguishers |  |  |  |  |
| 57 | Emergency Shower/Eyewash |  |  |  |  |
| 58 | Lighting System |  |  |  |  |
| 59 | Communication Equipment |  |  |  |  |
| 60 | Earthing/Bonding Equipment |  |  |  |  |
| 61 | Lifting Equipment (where applicable) |  |  |  |  |

SECTION G – MFE SUMMARY

Positive Observations

Opportunities for Improvement

Immediate Actions Taken

Overall Compliance Score

Total Applicable Questions:

Compliant:

Compliance %:

Rating

- Excellent (95–100%)

- Good (85–94%)

- Fair (70–84%)

- Poor (<70%)

SECTION H – SIGN-OFF

Signatures and Date

# Management Field Engagement Report

# Introduction:

# Arrival Time:

# Operation:

# Summary:

# Site Inspection:

# Highlights:

# Strength:

# Key Deficiencies (Gaps)

| S/N | Findings | Recommendation | Action Party | Close out Date |
| --- | --- | --- | --- | --- |

Conclusion

MANAGEMENT FIELD ENGAGEMENT PLAN

- INSPECTION PROGRAMME/PLAN:

The responsible manager should notify the necessary persons at least 24 hours prior to the visit and necessary arrangements will be made. Persons required for briefing and interview should be on site.

Date and Time of Inspection:

  - Documents and Records that may be reviewed: The under listed materials should be available during the briefing

- Contract HSE Plan

- Project Execution Plan

- Risk Assessment/JSA

- Permit to Work

- Tank Cleaning Procedure

- Zero-Man Entry Procedure

- Waste Management Plan

- Emergency Response Plan

- Environmental Aspect Register

- Equipment Inspection Certificates

- Pressure Test Certificates

- Gas Detector Calibration Certificates

- Vacuum Truck Certification

- Personnel Competency Certificates

- Medical Fitness Certificates

- Daily Toolbox Talk Records

- Incident Reports

- Previous Audit Reports

- Waste Tracking Manifest

- Disposal Certificates

- Client Bridging Document

2. On -Site Briefing

The Inspection team should be briefed on the operations taking place on arrival at the site and should be given a safety briefing on the HSE precautions to take. The inspection team should also give a briefing on its aims and objectives for the visit. The documents listed above will be reviewed by the MFE team.

3. Inspection/Onsite Activities/Interview

The inspection shall be conducted using the checklist; interviews may also be carried out with the staff /contractors along with checks on records and documents.

4. Closing Session

Strengths/ good practice observed shall be highlighted, Failures that can be handled immediately shall be emphasized and those that require management action will be stated in the report. The session should be brief and individual limitations should not be emphasized. The report will be forwarded to the .