INSERT LOGO

Document Title: PERMIT TO WORK PROCEDURE

| Document ID | SWDA-QHSE-03 -2019 |
| --- | --- |
| Document Type | Procedure |
| Document Author | Group QHSE Manager – |
| Document Approver | Chief Operating Officer – |
| Document Custodian | HSE Manager – |
| Issue Date | February 2026 |
| Document Revision | 1 |
| Review Date | February 2029 |
| Document Authorization and Revision History is shown next page. |  |

Copyright: This document is the property of SWDA Group. The circulation is restricted to SWDA Group and its contractors. Neither the whole nor part of this document may be reproduced, stored in retrieval system or translated in any form without prior written consent of the author.
Document Authorization

| Document Author | Document Approver | Document Controller |
| --- | --- | --- |
| Name: Title: QHSE Manager Date & Signature: | Name: Title: Chief Executive Officer Date & Signature: | Name: Title: Date & Signature: |

Revision History

| Revision No. | Issue Month & Year | Author’s Name and Title | Reason for issue /Change |
| --- | --- | --- | --- |
| 0. | June 2024 | QHSE Manager | - First Issue |
| 1. | February 2026 | Group QHSE Manager | - Review of Document - Major text edit - Inclusion of Document control page, Header and Footer. - Inclusion of Document authorization and revision history page. - Recommendations from Client. |

User Note: A controlled copy of the current revision of this document is domiciled in the QHSE office. It is the users’ responsibility to ensure that any hard copy or electronic copy is current. For assistance consult the document custodian. Users are encouraged to participate in the improvement of this document by informing the document author.

Table of Contents

1.	INTRODUCTION	5

1.1	Overview	5

1.3	Objectives	5

2	THE PERMIT TO WORK SYSTEM	6

2.1	The System - Overview	6

2.2	Responsibilities of Permit signatories and others	6

2.2.1	The Manager	6

2.2.2	The Project Superintendent or Project Holder	6

2.2.3	The Project Holder Supervisor	0

2.2.4	The Project Holder Site Supervisor	8

2.2.5	Permit Coordinator	9

2.2.6	Permit Applicant (PA)	0

2.2.7	Permit Holder (PH)	10

2.2.8	Permissible Signatory Combinations	11

2.2.9	Authorised Gas Tester	11

2.2.10	PTW Custodian	11

2.2.11	The Contractors Management	0

2.2.12	Complementary Certificate Signatories	12

2.2.13	Permit To Work Flowchart	0

2.2.14	Permit To Work Application Flowchart	12

2.2.15	Permit Suspension and Re-validation Flowchart	13

2.2.16	Permit Hand back Flowchart	15

2.2.17	Control of Work not requiring a PTW	15

2.2.18	Work requiring a PTW	16

2.2.19	Obtaining the right permit	0

2.2.20	Training and Competence	18

2.2.21	Competence	19

2.2.22	Essential Features of the Permit Form	20

2.2.23	PTW Effectiveness Monitoring, Assessment, and Review of PTW Systems	21

2.2.24	PTW Process Review	22

2.2.25	PERMIT PREPARATION	22

2.2.26	Work Plan	22

2.2.27	Job Hazard Analysis in PTW	23

2.2.28	Other Complementary Certificates and Support activities	23

2.2.29	Gas Test	23

2.2.30	Certificate for Work In Confined Spaces	24

2.2.31	The Permit Rack	24

2.2.32	Permit Location Board	25

2.2.33	PERMIT IMPLEMENTATION	25

2.2.34	Display of PTW and Monitoring of the Work	25

2.2.35	Suspension	26

2.2.36	Period of validity and Revalidation	26

2.2.37	Handover of Work	27

2.2.38	Permit Holders	27

2.2.39	The Project Holder Site Supervisor	27

2.2.40	Crew Change	27

2.2.41	Permit Holder	27

2.2.42	The Project Holder Site Supervisor	27

2.2.43	The Project Holder Supervisor	27

2.2.44	Changes in condition and Emergency situations	28

2.2.45	Changes in Work scope	28

2.2.46	Emergency Action	28

2.2.47	Work Completion	28

2.2.48	Records	29

2.2.49	Key Operational Guidelines	29

2.2.50	Active Permit – Number of Permit per Permit Holder	30

2.2.51	Toolbox Talk – Briefing the workforce	30

2.2.52	Interface Operations	30

2.2.53	Area Classification	31

2.3	GAS TEST FORM       GAS	33

2.4	Permit-to-work monitoring checklist	35

STANDARD:  Permit To Work (PTW)

This document may set requirements supplemental to applicable law. However, nothing herein is intended to replace, amend, supersede or otherwise depart from any applicable statutory law or corporate policies relating to the subject matter of this HSE document. In the event of any conflict or contradiction between the provisions of this document and applicable law as to the implementation and governance of this document, the provisions of applicable law shall prevail.

# INTRODUCTION

## Overview

## Having recognized that the operation of an effective permit to work system is an essential element in controlling the work   place risk and an integral part of a safe system of work which help to properly manage the wide range of activities which can take place close together in a small space, such as in a storage area or in drilling operation. And that hazards needs to be identified and assessed, implementation of control and recovery measures, and the maintenance of a documented system to ensure that major HSE risks are reduced to ALARP (as low as reasonably practicable). The SWDA Group is committed to pursue the operation of an effective Permit to Work (PTW).

The PTW system is a risk-based approach to the planning and execution of non-routine or potentially hazardous work to be carried out in a restricted area. A permit to work system is required for such activities as described in Part II, Sections 5, 38 and 40 of the Mineral Oils (Safety) Regulations [MOSR], 1997 of the Federal Republic of Nigeria.

## Objectives

The Permit to Work system is a formal written system used to control work that is identified as potentially hazardous or non-routine. It is also a means of communication between site/ installation management, facility supervisors and operators and those who carry out the work. The Permit to Work system achieves this by:

- ensuring that company approved standards are applied to the work

- identifying possible risks associated with the work and the precautions to take.

- monitoring and auditing to ensure that the system works as intended.

- ensuring that the person responsible for an area, facility or operation is aware of, and approves the work to be done, and that everyone whose activities may be impacted upon by the work are aware of it

- ensuring that a certified Competent Person accepts responsibility for the safety, quality and security at the worksite.

The Permit to Work, on its own does not make the work safe, this can only be achieved by the persons involved in the work.

# THE PERMIT TO WORK SYSTEM

## The System - Overview

The SWDA GROUP Permit To Work system consists of:

- The Permit to Work: This is the principal authorisation and clearance document to proceed with the work. Two types of permits exist, Hot work and Cold work permits.

- The Complementary Certificates: These certify that various related specialised checks have been carried out and that it is safe to start work. Certificates are provided for the following activities:

  - Excavation Work

A complete authorisation shall consist of the Permit to Work, Complementary Certificate(s) relevant to the work, and other support documents required to provide a safe system of work. The support document will consist of the Job hazard analysis, method statements, Process Engineering Flow Schemes (PEFS) and relevant sketches.

Having issued and accepted a Permit to Work, the Asset Holder site supervisor, the Permit Holder and where applicable, the Client supervisor take on the responsibility for managing all HSE Risks to ALARP during execution of the work.

Cautionary Note: The Permit to Work System is not designed to control modifications to facilities. This is the function of the Engineering Change Control Procedure (ECCP). All permit applicants should have complied with the ECCP before starting any work that involves modification to a facility.

## Responsibilities of Permit signatories and others

### The Manager

The Project Manager who is the project owner, is responsible to the CEO for the Integrity and Safety of the location(s) allocated, including the implementation and adherence to the PTW system.

### The Project Superintendent or Project Holder

The Project Superintendent or Project Holder is the custodian of the facilities in the operational area and has the direct responsibility for its physical operation including HSE management. He is responsible for appointing the Project Holder Supervisor and checking that he/she is a qualified PTW Signatory. The principal responsibilities of the project holder are:

- Overall charge of the Operation area, and is responsible for the effective operation of the PTW system in the facilities.

- Control and co-ordinate work in the Operation area, or work by a vehicle/ vessel or mobile installation entering the district’s zone of authority

  - Ensuring that the Project holder supervisors, Project holder site supervisors, are formally appointed, with their limit of responsibilities and limits of authority clearly defined.

  - Ensuring that there is enough capacity and capability to authorise and supervise work activities

  - Ensure that list of personnel who have undergone the required training and assessed competent for positions within the PTW system are maintained in a Competence Register

  - Ensure the suitability and effectiveness of the PTW System through monitoring, inspections, audit and periodic review.

### The Project Holder Supervisor

The supervisor appointed as a PTW competent person and is in control of activities within the facility. This person has authority and responsibility for the overall implementation of works for which he authorises the issue of the work permit. Before signing the PTW form to authorise work, he should verify and satisfy himself that:

- He understands the nature of the work being applied for

- All the hazards associated with the job are identified and the risk has been reduced to as low as reasonably practicable (ALARP)

- All the necessary precautions required, including process clearance and systems isolations, before work begins are verified to be in placed

- All supporting permits, complementary certificates, and supporting documents that will enhance information and add-value to the safe execution of the work are attached and made known to all concerned parties carrying out the work

- That effective organisation exists to ensure that the work site is examined before work begins, on completion of work and when work is suspended.

- He specifies on the permit any additional precautions that need to be taken during the work.

- Other permits (jobs) ongoing do not conflict with the permit for the work that he authorizes the issue, and permits for tasks that may interact with other permit/activities are cross-referenced

- The Permit Applicant is competent and is able to understand the conditions stipulated in the PTW form and other supporting documents (if required) and that these are conveyed as necessary to other personnel involved with the work and under his control.

- Sufficient time is spent on shift/crew hand over to discuss all ongoing or suspended permits with the incoming permit issuer and that the status of the work is displayed in the Permit Coordination Facility

- The Permit Holder is responsible for safe execution of the job and shall be present at site to ensure all precautions are being observed based on assessed risk levels.

### The Project Holder Site Supervisor

The Project Holder Site Supervisor is responsible for ensuring and verifying that all the conditions and safety precautions set out in the permit are implemented on site, before allowing the work to proceed.

Before signing to issue the permit and approve work to proceed, he should ensure that:

- The extent of the proposed work and the methods to be applied are clearly defined and sufficiently detailed

- All supporting permits, complementary certificates, and supporting documents that will enhance information and add-value to the safe execution of the work are attached, properly authorised and made known to all concerned parties carrying out the work

- All hazardous materials have been removed as necessary from the area where the work is to be done and the area isolated from all other hazardous materials

- All required equipment are Premobilised, and have the appropriate Premob sticker (Red or Green)

- The place of work is isolated as necessary from all sources of power and mechanical hazards

- All other agreed safety precautions are fully observed before authorising work to start.

- Appropriate arrangements have been made for access and escape from the work area, including safety signs, barriers, and adequate and (approved) lighting

- The Permit holder signs the permit

- The Permit Holder, in accepting the Permit on behalf of those who will carry out the work, is fully briefed about its provisions, and has complied with the necessary safety requirements stipulated

- The condition has not changed and that all safety precautions are verified to be in place for the work before signing to approve for revalidation of the permit.

- Permit holder is aware that if the conditions change after the permit is signed or revalidated work must stop until appropriate approval has been secured from all those who signed the original PTW.

- Gas tests are carried out by the Authorised Gas Tester when and where required, and that the results are satisfactory

- That he checked that the site is made safe before accepting work on completion. The Permit Holder is responsible for safe execution of the job and shall be present at site to ensure all precautions are being observed based on assessed risk levels.

- He shall visit and inspect the site and that all precautionary measures stipulated in the permit are in place before signing to approve work to proceed or revalidating the permit.

Affected Project Holder Site Supervisor (Sphere Supervisor)

This applies where there is more than one PHSS on a site. This can occur in Jack up HWO set up where the Project Holder Site Supervisor for the operational area will be the operations team leader while the Project Holder Site Supervisor for the accommodation will be the Services Coordinator.

In most cases equipment requiring to be worked on will be situated within the sphere of influence of its Project Holder Site Supervisor. On some occasions, however, certain tasks  may impinge or impact another Project Holder Site Supervisor sphere of influence.

Where activities carried out in one area impinge or impact on activities in another area then the Project Holder must inform the affected Project Holder Site Supervisor.

The affected Project Holder Site Supervisor must:

- Countersign the PTW from the adjoining area to confirm that he is aware of the activity taking place and that the hazards can be effectively managed with the specified controls

- Communicate with personnel working within his area who may be affected by the adjacent activity to ensure that they understand the potential impact on their activities.

### Permit Coordinator

Person responsible for coordinating the administration of the PTW system and ensures its effectiveness in controlling the hazards and managing the risk at the worksite. This person is the location focal point for all authorised and issued work permit in that location. He reports direct to the Project Holder Supervisor on PTW issues. This role, “double hatted” by an appointed person.

The Permit Coordinator is required to: -

  - Ensure consistency in the application of the principles of Permit To Work at location and oversee the PTW process from application to suspension/closing of permits.

  - Liaise with supervisors (e.g. Operations Superintendent) on upcoming work plans to ensure smooth administration of the PTW system and minimize disruption to operation activities due to PTW delays.

  - Review documentations (permits, certificates, JHA, checklists, SHOC and procedures) to ensure that hazards, their controls and mitigations are identified.

  - Act as first line check for conflicting work activities, isolation boundaries and potentially hazardous operations

  - Put in place a procedure or guide for an effective management of interface activities to manage conflicting activities during pre-commissioning, commissioning and construction

  - Check that work is within the project Work Activities Pack

  - Check to ensure isolation and associated boundaries, and that hazard control measures of the permits are maintained during work execution

  - Ensures the area is not over crowded with permits, particularly hot work permits

  - Use the Permit Location Board to effectively manage work permits and its associated documents/attachments. Isolations must be reflected on up-to-date approved P&ID and attached to the Permit To Work (Isolation plan/JHA must be approved prior to permit approval)

  - Maintain location-approved list of certified PTW signatories.

  - Provide site based work party PTW awareness training

  - Maintain Permit to Work System documentation archives for audit trail.

  - Follow up on PTW audits/effectiveness assessment findings.

### Permit Applicant (PA)

This is the Company staff or his representative, who applies for the permit and it is usually a

Supervisor in the Activity or Contract Sponsor Department responsible for the planning or execution of the work. His responsibilities are:

- Complete the PTW form with details of work to be done, the equipment to be worked on, the method to be used, the area, the tool and equipment to be used

- Visit the worksite with the Project Holder Supervisor if required.

- Carry out Job Hazard Analysis at task level for the work and specifies precautions necessary to safely execute the work

- Attach to the permit, work method statement, the work specific Task hazard analysis (not generic), relevant drawings and other necessary details developed during the planning of the work and the assessment of the risks

- Complete relevant complementary certificates

- Agree with Project Holder Supervisor’s any additional hazard analysis and safety precautions from his review

- Instruct Permit Holder on safe execution of the work as described in the PTW

- Ensure the PH is present on site throughout the duration of the activities covered by the PTW, and pays special attention to all high risk tasks

  - Agree on an equally competent PH if the substantive PH have any cause to leave the site, and ensure adequate briefing

  - Determine (and agree with the PH) the number and locations of activities that can be covered by the PH under one or more PTW regime, in compliance with the under listed conditions

    - The PH must continuously be present throughout the duration of all high risk or hazardous activities involving e.g. Hot work, Confined space, working at height above 1.8 m etc. and should not supervise any other job at the same time.

    - Where a PH is allowed to hold more than one PTW, all the activities must be within close proximities for him to be sufficiently present to manage all the activities and none of them should be high risk

### Permit Holder (PH)

The PH is the competent person whether Company or Contractor staff that is responsible for safe execution of the job as defined in the work permit and shall be present at site to ensure all precautions are being observed based on assessed risk levels (The Permit Applicant and Permit Holder can sometimes be the same person). He has the responsibility for the execution of the work on site by:

- Discussing the job fully with the PA and the Project Holder Site Supervisor before signing to accept the PTW.

- Ensuring that prescribed work methods are followed and the JHA is fully implemented

- Showing the work party the exact location and the equipment to be worked on

- Explaining to the work party the details of the work, any potential hazards and precautions to be taken.

- Ensuring that Tool Box talk is conducted before work commences

- Ensuring that the precautions are maintained throughout the work and that the work party and the work stays within the limits (area, type of work, time) specified on the PTW e.g. proper isolation, purging and gas testing

- Ensuring all necessary safety precautions are in place before asking Project Holder Site Supervisor to revalidate the PTW and allowing work to start.

- Displaying the PTW and attachments conspicuously at the worksite.

- Stopping the work and seeking advice from the Project Holder Site Supervisor (PHSS) if the work exceeds the scope of the permit, or condition at the worksite changes (e.g. change in weather conditions, leaks or emergencies or if he feels it is unsafe to continue etc.)

- Ensuring the work site is left in safe state at close of work or change of shift.

- Ensuring that the work site is left in a safe and tidy condition before handing back the PTW on completion or suspension of the work

- Ensuring work completion is fully agreed with the PHSS.

- Handover the activity to an equally competent PH as agreed with or authorised by the PA in case of absence away from the proximity of the activity. Complete PTW form as required and signed or countersigned the handover section

### Permissible Signatory Combinations

The signatory requirements are as follows:

- No one may issue a PTW to themselves

- A minimum of two persons must check the PTW prior to issuing to the PH

O	One is responsible for the task risk assessment (Hazards and Controls)

  - One must check for conflicts

- All signatories must be competent for the role

In the unlikely event that only two people are available, a permissible exception to the above rule is that PTW can be processed by two people, provided both are competent to complete the roles required.

However the margins of checks and balances are eroded, so this should be very much the exception and not the rule.

NOTE: The same person cannot act as Permit Holder and Project holder Site Supervisor for the same task.

### Authorised Gas Tester

Personnel trained and authorised to carry out gas test and to interpret the results obtained in terms of flammability, toxicity or quality of air for breathing, as necessary to monitor the conditions required by a Gas Test Certificate. He is responsible for:

- Know the acceptable working/exposure limits for the gases that are commonly found.

- Fully familiar with the operation of gas testing equipment and able to interpret the results of tests.

- Recognise changes in process conditions or the working environment that may require work to be stopped.

- Ensure Gas testing equipment are calibrated and maintained in good condition.

### PTW Custodian

A  PTW system custodian may be employed or appointed, he or she may be responsible for the effective management and uniform application of PTW systems. His/her responsibilities include but not limited to:

- Maintaining the PTW system and providing a source of expertise in its application

- Ensure compliance of the PTW system with SWDA Group guidelines

- PTW focal point  and liaison officer with clients

- Provide corporate guidance on PTW systems administration and receive feedback from users.

- Monitoring the performance and effectiveness of the PTW system

- Reviewing learning from incidents and periodic inspection of work controlled by PTW systems

- Organising corporate audit/effectiveness assessment of the PTW systems and reviewing the PTW audits

- Conducting formal systematic review of the effectiveness of the PTW system every two years.

- Benchmarking the application of PTW Systems across the industry, and initiate change proposals for effective co-ordination of Systems in SWDA.

- Facilitate competent persons training, and refresher.

- Authorise derogation of the PTW procedure application

### The Contractors Management

The Project Manger monitors the effectiveness of the application of the PTW in the contract and ensures that the Client or Contractors Management, represented by the Contractor supervisor of the PHs

- Are aware and ensure their employees:

  - Understands SWDA PTW System

  - Are trained, qualified and competent to execute the respective duties for which they are employed

- Review the performance of their personnel with regards to PTW:

  - Understanding (roles and responsibilities)

  - Work practices

### Complementary Certificate Signatories

Supporting certificates signatories are responsible for:

- Confirming that the hazards covered by the complementary certificates, have been identified and adequate precautions have been specified in the planning and preparation of the work.

- Ensuring that any legal requirements and company rules are complied with when specifying the precautions.

- Confirming that controls are in place and effective, particularly in the case of Isolation, Electrical, Confined space, and Gas test certificates.

### Permit To Work Flowchart

### Permit To Work Application Flowchart

Permit Applicant (PA) identifies Hazards (Refer to Hazard Register of HSE Case, JHA, EIA, and HRA) and specifies precautions to be taken; Completes Sections 1 and 2 of permit; endorses section 3; discusses with Permit Coordinator (if not the same person as the AHS), who will verify the completed sections, and then brings to the Asset Holder Supervisor. Form completed in quadruplicate.

Project Holder Supervisor   assesses adequacy of hazards identified and the  precautions. Verifies that Sections 1 and 2 of Permit are properly filled in. Specifies additional precautions if required and discusses this with Permit Applicant. Endorses Section 3 of permit and retains his copy (Yellow copy)

Permit Applicant agrees with Project Holder Supervisor on additional precautions if any, and retains his copy (Blue). PA (or Permit Holder) takes the permit to Project Holders Site Supervisor.

At the Work Site, Project Holder Site Supervisor  reviews completeness of hazards analysed and verifies Sections 1 and 2 of permit. The PHSS ensures that the site has been made safe for work to commence. He confirms that the PH has provided all required precautions and that the precautions are in place He endorses Section 3 of permit, approving the work to proceed

Permit Holder (PH) accepts the permit from the Project Holder Site Supervisor and endorses Section 3 confirming that safety precautions in the permit shall be observed. PH displays his copy (pink) of permit conspicuously at the actual work site.

Project Holder Site Supervisor sends his copy (White) of permit to the Permit Coordination Centre / Permit Coordinator (where applicable)

Permit Coordinator displays the permits in the appropriate slot in the permit rack at the Permit coordination Centre, updates the list of permits and, displays the corresponding magnetic disc on the Permit /Location Board.

### Permit Suspension and Re-validation Flowchart

#### Suspension Steps

Permit Holder makes the site safe, collects the PTW pink copy from the site and the PHSS white copy from the PTW coordination centre and endorses Section 5 indicating action and reason. Proceeds to contact PHSS.

Permit Holder Site Supervisor visits site and confirms site is in safe condition and safety precautions still in place. Endorses Section 5

Permit Holder Site Supervisor passes the 2 copies of permit to Permit Coordination centre/Permit Coordinator. Permit coordinator updates the Permit location board (Removes magnetic disc corresponding to the PTW) and places the suspended PTW forms in the appropriate slots in the permit rack. No further work shall be carried out when the permit is suspended.

#### Revalidation Steps

At the Work Site, PHSS, checks and ensures all safety precautions are in place and no new hazards introduced. PHSS endorses Section 4 of the White and Pink copies together, and takes the White copy of permit back to the Permit Coordination centre/Permit Coordinator.

Permit Holder displays pink copy of permit conspicuously at the actual work site.

### Permit Hand back Flowchart

Scenario 1:-Work completed. Permit not required anymore. System ready for re-instatement and site restored to a safe and operational condition.

Site restored to safe condition and housekeeping completed. De-isolation carried out if required as per the isolation scheme. No further work shall be undertaken. Permit Holder collects pink and White copies of permit and endorses Section 5. Brings permit to Project Holder Site Supervisor.

At work site, Project Holder Site Supervisor checks and ensures work has stopped. Safety System has been re-instated and the area restored to a safe and operational condition. Endorses Section 5 to close the permit.

Project Holder Site Supervisor passes closed permit to Permit Coordination centre /Permit Coordinator for compilation.

Scenario 2:- Work stopped. Re-validation column exhausted on current permit. New permit required to continue work. System not ready for re-instatement.

Permit Holder collects pink and White copies of the permit and endorses Section 5. Brings permit to Project Holder Site Supervisor for signature. No further work shall be undertaken.

At the Work Site, Project Holder Site Supervisor checks and ensures work has stopped. Isolation still in place as per the Isolation scheme and site left in a safe condition. Endorses Section 5.

Project Holder Site Supervisor retains Pink and White copies and sends them to Permit Coordination centre /Permit Coordinator.

Permit Applicant raises new permit.

### Control of Work not requiring a PTW

The activities below do not normally need to be authorised by Permit to Work (PTW). However, competent people using approved procedures and the general HSE management requirement, must carry out these tasks, and where situations change it is important that these procedures are reviewed and updated accordingly. A comprehensive risk assessment should be carried out at activities tasks step level, and also the TRIC (Tool box meeting Risk Identification Card) should be used for onsite last minute risk assessment during the tool box meeting.

These activities include:

- Routine production plant operations covered by a plant operating manuals and non-breaching (breaking containment)

- Drilling operations

- Helicopter landing Operations

- Routine accommodation/Admin activities

- Visual inspections of areas (except confined spaces)

Furthermore, the use of the following tools or equipment inside accommodation areas, workshops, control rooms and other non-restricted area protected by fire and gas detection equipment do not require PTW:

- Work including machining, fitting, turning and calibration work

- Battery operated cameras with/without flash

- Processes involving naked flames or hazardous substances in approved laboratories

- Heat shrink blowers, air/electric drills, bench grinders and soldering irons

- Use of non EX certified electrical equipment, unless the equipment is capable of producing a spark.

NOTE: There may be occasions where concurrent operations require particular controls to avoid a hazardous situation. In this case the project holder or the project holder supervisor should control these tasks under a PTW.

### Work requiring a PTW

#### Hot work with a positive source of ignition, examples are:

  - Work involving naked flames

  - Use of Flare Guns (in oil and gas facility)

  - Electrical Welding

  - Electrical induction pre-heating, stress relieving or use of high temperature thermal calibrators (above 200ºC), except in authorised workshops and laboratories

  - Use of portable grinders electrically and air powered

  - Use of heat shrink blowers and electric power tools in Hazardous Zones, except as described in 2.2

  - Use of equipment or work on pipe work or vessels contaminated with pyrophoric iron scale

#### Hot work with a potential source of ignition, examples are:

- Work involving explosives

- Dry grit/shot blasting in hazardous zones

- Use of non-appropriately rated EX equipment in Hazardous zones, except as described in 2.2

- Opening live electrical junction boxes in Hazardous zones where terminals are exposed to atmosphere.

- Use of air or hydraulically powered tools including needle guns capable of generating a spark mechanically (excluding torque wrenches in Hazardous Zones)

- Use of electrically powered shrouded friction welding equipment in Hazardous Zones

- Operation in Hazardous Zones and Non-hazardous Zones of protected portable diesel engines, which are not tied into the fire and gas systems or operation of ANY portable diesel engine in a Hazardous Zone

- Entry of vehicles, e.g. vacuum tanker and cranes, into hazardous zones.

- Use of cartridge operated fixing tools in Hazardous Zones

- Use of battery powered cameras in hazardous zones

#### Cold Work, examples are:

  - Well Services Operations

  - Rig move

  - Hydrostatic pressure testing of plant and equipment

  - Nitrogen/Gas leak or pressure testing of plant and equipment

  - Bleeding down vessels to drains or to atmosphere

  - Working with nitrogen gas

  - Pipeline activities such as Pigging, ground bedding operations, cathodic protection survey, pipe maintenance activities etc

  - Work affecting the availability of fire and gas detection systems, e.g. flammable gas detection, oil mist detection, H2S detection, fire detection and Uninterruptible Power Supplies (UPS)

  - Work affecting the availability of fire or explosion control or protection arrangements, e.g. explosion protection, deluge, fixed fire fighting foam systems, fire pumps, fire ring main, gaseous systems (CO2) and passive fire protection sprinklers

  - Work affecting the availability of process safety and protection arrangements, e.g. manual alarm call points, Emergency Shutdown Valve (ESDV) systems, blow down and drains systems

  - Work in confined spaces or vessels and temporary enclosures

  - Spading and de-spading of systems or equipment containing produced hydrocarbons or other high pressure/high temperature or flammable liquids, e.g. oil, gas HP Water Injection, chemical injection, glycol, etc

  - Electrical work resulting in the non-availability of:

    - Emergency generators/switchboards

    - Electrical supplies to Category A Electrical Equipment

    - Electrical supplies to the accommodation

  - General electrical work or testing that requires a Cold Work Permit not covered in the above categories that will extend beyond one shift period or require transfer of responsibility between shifts of the personnel doing the work

  - Work affecting facilities provided for the refuge, protection, escape and evacuation of personnel, e.g. Hazardous and Non-hazardous Zone ventilation, access/evacuation routes, temporary refuge, emergency/ escape lights, personnel safety equipment, helicopter support systems, gangway, tertiary means of escape and rescue facilities

  - Construction, maintenance, overhaul and repair work in operational areas

  - Erection and dismantling of scaffolding

  - Lifting/rigging operations in areas which require special controls and a lifting plan, or where the lift has the potential to cause damage to other equipment or systems

  - Work on lifts, which involve access in to the lift shaft

  - Work aloft or at height greater than 1.8 metres

  - Working on the Flare Stacks/Towers/Booms

  - Removal of handrails, gratings, hatches and fixed ladders

  - Handling or use of hazardous substances

  - Working with radioactive sources

  - Working with asbestos/ mineral fibre

  - Use of Class 1, 2 or 3 (low powered) lasers

  - Use of air or hydraulically powered tools including needle guns in Non-hazardous Zones (including torque wrenches in Hazardous Zones)

  - Working with asbestos/ mineral fibre

  - High pressure (HP) water jetting or grit blasting

  - Use of cartridge operated tools in Non-hazardous areas

  - Wet grit/shot blasting

  - Spray painting/coating

  - Work affecting the internal or external communications systems of the installation/site

  - Working on computer controlled systems

  - Excavation work to a depth greater than 30cm (onshore locations only)

  - Dredging near existing facilities and plants, Company or Third parties (Dredging is considered as Excavation)

  - Diving Operations

  - Work over side or where there is a danger of falling into the river/ sea

  - Demolition

### Obtaining the right permit

For any activity, the required minimum number of permits should be raised. However, the following rules must be observed, if the: -

| Activity contains… | Raise… |
| --- | --- |
| HOT and COLD work | Single permit for EACH of the HOT WORK, |
|  | and COLD WORK tasks |
| Complex method statement with numerous | PERMITS for each discrete task accordingly |
| tasks – DIVIDE the activity into discrete tasks |  |
| Tasks spread over large work areas | Separate permits for EACH Area Authority, |
|  | CLEARLY defining the boundary point |

A Complex activity and a large work package should be broken down into smaller job units. The smaller job units should further be broken down into discrete tasks. The PTW should be raised to cover discrete tasks usually completed within a day or for repetitive tasks, within the 7 days validity period for the PTW. The discrete tasks are further broken into simple sequential steps, which are listed in the work method statement and are analysed for potential hazard in the Job (task) hazard analysis

Note: Discrete tasks should be such that the foreman or supervisor has full time supervision (100%), within a location where he will not be out of sight of the work post.

### Training and Competence

#### Training

Persons shall not authorise or supervise work covered by a permit without having successfully completed the appropriate permit to work course and been appointed by their line management.

There are four types of PTW courses:

- PTW signatory course – Pass mark 80%, valid for 5 years. For PHS, PHSS, Permit Coordinators and Permit applicants

### Competence

#### Appointment

All personnel assigned with the duties in the PTW system (PHS, PHSS, permit applicant, permit holder, and permit coordinators) shall be appointed. The appointment shall be endorsed by the Operations Manager (or equivalent in other functions).

All roles that are key to the safety of operation (frontline safety critical positions) shall be performed by personnel who can discharge these responsibilities safely and effectively. This applies equally to both SWDA and Contractor staff.

The following competency criteria shall be adopted as a minimum in assigning an individual to execute the duties and responsibilities required in the respective roles.

#### Work Party.

- Be fully familiar with the HSE rules for working at the location

- Recognise and understand the importance of correct application of the PTW and complementary certificates

- Understand the importance of complying fully with all the controls on PTW and complementary certificates, and of reporting any deviations from specified conditions

- Participate in daily tool box talks - specific to the task and scheduled general HSE meetings

- Skilled to stop or intervene when permit to work requirements are not met.

#### Permit Applicant and Permit Holder

- Have a full knowledge of the PTW system, including the roles of signatories and others. Able to progress with and deal with the administration of PTW

- Have a detailed knowledge of relevant procedures and work instructions, including those associated with maintenance and shutdown activities

- Able to explain how risk assessment, job hazard analysis, and PTW integrate with work planning process to provide a safe system of work

- Participate in multidisciplinary teams to develop safe system of work for high risk, non-routine tasks.

- Explain the activities, hazards and controls in daily meetings and toolbox talks.

- Supervise work that is under permit control. Able to identify changes in condition or activities that requires the work to be stopped

#### PHS, PHSS, and Complementary certificate signatories

- Shall demonstrate knowledge and competence in plant and equipment layout

- Shall demonstrate knowledge and competence in the process taking place (drilling and civil works)

- Fully familiar with statutory requirement and company regulations

- Have a full working knowledge of the PTW system, including the roles of signatories and others. Able to progress and deal with the administration of permits

- Have a detailed knowledge of the operations and processes for which he/she is responsible

- Fully experienced in all operational preparations including isolation and clearance of process materials for work that is under permit control

- Able to explain how risk assessment, job hazard analysis, and PTW integrate with work planning process to provide a safe system of work

- Lead multidisciplinary teams to develop safe system of work for high risk, non-routine tasks.

- Identify the conflicts between the proposed work and the other activities in the area and consult others as appropriate

- Monitor effectiveness of the controls applied and alter them if necessary to maintain a safe system of work

- Recognises changes in process conditions or working environment that may requires work to be stopped

- Fully familiar with the operations of the gas testing equipment, its calibration and the acceptable limits of the commonly found gases

- Know actions to be taken in an emergency situation

#### Authorised Gas Tester

- Know the acceptable working limits of the gases that are commonly found

- Fully familiar with the operations of the gas testing equipment and able to interpret the results of the tests

- Trained and certified in the use of Breathing Apparatus

- Recognise changes in process conditions or working environment that may requires work to be stopped

- Know how to calibrate and maintain the commonly used gas testing equipment

#### Custodian

- Have a detailed knowledge and experience in the operation of the PTW systems, both for this system and elsewhere in the industry

- Able to demonstrate competence in conducting PTW inspections and audits

- Able to critically review the findings of PTW monitoring, inspections and effectiveness assessment/audits, and recommend to management enhancement of the PTW system

- Able to propose enhancement to the PTW system based on good knowledge of developing legislation and industry best practices.

### Essential Features of the Permit Form

This is the principal document for authorising non-routine or potentially hazardous activities. The main essential features are listed below:

Section 1

- PTW Start date is the date that the PTW is issued on site for work to commence. The preparation for the completion of all the forms should be within 48 hours

- Facility/Installation – The name or description of the facility/installation/plant where the job is to be carried out e.g. Well.

  - Work Area or Location – the exact location where the job will be carried out e.g. HP separator relief valve.

  - Zone Classification – Hazardous Area classification Zones 0, 1, and 2, and non-hazardous zone.

  - Description of the Work – Should be clear and precise. It should be a single segment of the work that can be carried out within a reasonable time frame, which should not be more than 3 weeks maximum. Any work segment that will take longer should be divided into smaller segments

The list of tools and equipments to be used and safety requirements, list of workers with job titles, work method statement detailing the step by step sequence of the work, relevant drawings/sketches, materials, task specific job hazard analysis, Isolation

plan/JHA, and other supporting documentation such as complementary certificates and gas test forms shall be attached to the PTW

- Duration of work is the number of days that the single segment of the work covered by the PTW will take to be completed

- Hours/day – is the number of hours agreed to complete a day’s work, usually the daylight hours. Night work or extended hours of work should be covered with the necessary waiver or permit such as Night work permit in addition to the permit to work

- No of workers – Number of workers required and approved to carry out the day’s activities

Section 2

- Section 2 comprises of tick boxes for the required documentations, safety precautions to be taken in the work place indicating how the facility is expected to be Isolated, preparations of the facilities and the work area for the proposed work activities. The PPE required and the complementary certificates are included in this section. A tick on the relevant boxes to indicate what actions are required completes this section. The Project Holder Supervisor while reviewing the completed PTW can include additional controls and precautions to ensure that the site is made safe for the work to be done.

Section 3

- This is the signatory section for the main stakeholders in the PTW process. The permit applicant applies, the PHS approves the permit, the PHSS issues the permit and the Permit holder acknowledges understanding of the requirements of the permit and accepts to comply with them.

Section 4

- The validity and renewal section is completed by the PHSS each time he revalidates the permit to work after the first day of work for the next 6 consecutive days

- The Handover of work section is completed by the PH whenever he has to handover to another permit holder, particularly during the change of shift.

Section 5

- The PH signs the hand back of work section when the work is completed or suspended and site is restored to a safe condition, to hand back the permit to the AHSS. The AHSS signs the work acceptance section of section 5 to close the permit

Sample Permit to Work forms are in Appendices II and III.

### PTW Effectiveness Monitoring, Assessment, and Review of PTW Systems

#### PTW Effectiveness Monitoring and Assessment

A system will be put in place to verify the effectiveness of the Permit to Work (PTW) System using a tiered approach ranging from daily monitoring to less frequent self-assessments.

The tools provide a proven means to assess and monitor key behaviours, or pillars essential for effective implementation, which are: Compliance; Hazard/ Situational awareness; Competence; Communications; Supervision and Planning.

#### Monitoring or Compliance checks

“daily monitoring” means taking representative samples of the permits issued on the site. Typically 10 % of permits are sampled. The Permit Coordinator (or Project Holder  Site  Supervisor)  shall  carry  out  the  assessment  at  the  chosen  location.

### PTW Process Review

PTW Custodian should periodically review the effectiveness of the PTW system and modify where necessary as part of the continuous improvement of HSE Management. Assurance of the effective operation of the PTW system requires that:

- the system is well understood;

- adequate training and necessary infrastructures be provided to support the system; and

- implementation is audited to ensure that the system is being operated correctly and is

meeting its objectives. To achieve the set objectives:

- Audit documentation and practice shall be revised to ensure that it examines the effectiveness of the system in ensuring safety at the worksite, not just whether the paperwork is completed correctly.

- The audit process shall feed into a 3 yearly review process across SWDA to ensure the system:

  - Reflects changes in legislation, industry and Group guidelines

  - Reflects best practice

  - Recognizes geographical and organizational constraints

  - Incorporates lessons learned from incidents and near misses

  - Responds to feedback from users

### PERMIT PREPARATION

### Work Plan

Worksite Assessment

A risk-based approach to worksite assessment must precede the raising of a permit by the Applicant, in order to provide a formal framework for decision-making on jobs that require Permit-to-work. This will allow very low risk activities to be excluded from the requirement for a Permit. Typically, risk associated with the work are assessed using Risk Assessment Matrix, and a JHA is required for High or medium risk activities.

Sufficient time should be allowed for planning the work, for conducting the necessary Job Hazard Analysis (JHA) and Health Risk Analysis (HRA), and for operational and engineering preparations to be made.

The PHS, PHSS and the complementary certificate signatories should inspect the work site with the permit applicant and the permit holder as part of the risk assessment and JHA

The PA should ensure that the necessary site visits has been made before commencement of work and ensure that all identified hazards associated with the job are well analysed with necessary controls and recovery measures.

### Job Hazard Analysis in PTW

The JHA identifies the potential hazards in the hazardous elements of the work, and defines the control measures required to prevent them from causing harm. A multidiscipline team made up of personnel who will be involved in the work shall conduct the JHA. Specialists can be invited if required. The JHA should include issues from HRA and Environmental Impact Assessment (EIA). The HRA should consider non-routine operations and maintenance activities, which can involve a significant potential for exposure to process related health hazards

The JHA is an integral part of the PTW system, and must be attached (*****) to the completed PTW form before authorisation.

All signatories should be knowledgeable in Job hazard analysis techniques

### Other Complementary Certificates and Support activities

The Permit to Work is a communication and control document. Complementary Certificates are used to specify in more detail the precautions applicable to various types of work. All the required certificates for the work will be specified in the Permit to Work with the cross-reference numbers quoted.

The following certificates form part of the SWDA Permit to Work System.

### Gas Test

Various work activities will require gas testing to be carried out to ensure that the site is clear of toxic/flammable gases and to reduce the risks associated with work activities.

Gas testing requirements should be recorded as a control measure on the PTW. There are four different requirements for gas testing as detailed below:

(1) Initial Gas Test

An initial test for combustible/toxic gases, which must be performed before the work can commence

(2) Initial Oxygen Test

An initial test for oxygen, which must be performed before the work can commence

(3) Repeat Gas Check

Repeat gas tests should always be carried out at specified intervals, typically after meal breaks and any other substantial breaks from the worksite

(4) Continuous Gas Monitoring

The worksite should be monitored continuously using a portable or personal gas detector positioned adjacent to the job. This test is in addition to the requirements for the initial or repeats gas tests by the Authorised Gas Tester.

NOTE: With the exception of continuous gas /toxic / O2 monitoring ALL testing must be carried out by an Authorised Gas Tester, and all results recorded on the Gas Testing Form (appendix V.).

### Certificate for Work In Confined Spaces

This certificate is required for all work involving entry into confined spaces, including occasions when only the head is inserted into the confined space (e.g. through manholes, hatches, open pipe ends etc). A confined space means any enclosed space where there is likelihood of hazardous atmosphere or of reduced oxygen content e.g.

- Accumulation of Hazardous Atmospheres which include toxic, flammable or asphyxiating vapours that could result from process chemicals, or operations such as welding, spray painting, burning, etc.

- Deficiency of Oxygen i.e. an atmosphere containing less than 20% oxygen. This may be due to the presence of excess Nitrogen or other asphyxiates or impurity and can occur in any vessel which previously contained water, hydrocarbon liquid or gas and which has been purged with inert gas.

### The Permit Rack

The permit rack, representing an area of an installation or a platform in a complex, has a number of sections and each section of the rack is subdivided vertically into sections representing the status of the permit. Appropriate copies of permits and supporting documents are placed into these sections. The depth of the rack sections is arranged so that the permit number, description of task and permit type are visible without removing the permit from the rack.

The permit status sections are:

| a) | Active | Permits for which work is actually in progress. |
| --- | --- | --- |
| b) | Suspended | Permits for which work has started but is not currently in |
|  |  | progress. |
| c) | Planned | Permits for work, which has not yet started but has been validated |
|  |  | by the Holder Department (e.g. awaiting isolations). |
| d) | Extended | Extended Period Isolation Certificates for isolations whose permit |
|  |  | has been cancelled but the isolation retained for justifiable |
|  |  | reasons. |
| e) | Expired | Permits whose validity date has expired but which have not yet |
|  |  | been cancelled. |

The colours of the permit copies visible in the racks give confirmation of the permit status.

WHITE copy showing	PINK copy is at the worksite and work is underway. The

permit is AUTHORISED and Active.

WHITE AND PINK copies	The worksite copy is also in the rack and no work is in

showing	progress. The work is either PLANNED or SUSPENDED.

NO copy showing but permit	Both worksite PINK and control center WHITE copies are

location board shows active permit   away being signed on or off. Work is about to start or

stop. This gives an indication of possible clashes with new

work coming up.

Whenever the permit changes status, the permit and its supporting documents are moved to the appropriate section of the rack, e.g. from PLANNED to ACTIVE to SUSPENDED, etc. To highlight when isolations or de-isolations are in progress, a BLUE separator inscribed “ISOLATION IN PROGRESS” and “DE-ISOLATION IN PROGRESS” is inserted in front of the permit to warn people about to start work in the area that this activity is going on.

A similar BROWN separator is used when “TESTING IS IN PROGRESS”.

### Permit Location Board

Whenever a permit is authorised or re-authorised and the work is about to start, the exact location of the worksite will be indicated by a 20mm diameter magnetic disc placed on the Permit Location Board at the worksite. Red for Hot work and Blue for cold work permits.

Each disc will have the number clearly visible on it and this number will also be written in the Task No. box provided on the top of the permit, at the same time of its first authorisation. At each reauthorisation, the permit will retain the same numbered marker until it is finally cancelled, when the number becomes available for use on a new permit.

### PERMIT IMPLEMENTATION

#### Authorisation and Issue of Permits

No one is permitted to issue a permit to himself. This means that the Permit Applicant and the Project Holder supervisor shall not be the same person.

### Display of PTW and Monitoring of the Work

The following documents shall be prominently displayed at the worksite and the control center for work under permits:

- PTW

- Toolbox talk Records – Toolbox Risk Identification Card (TRIC)

- Complementary Certificates

- Method Statement and JHA

The copy displayed at the worksite should be placed in a transparent folder and strategically placed in the field and must be readily visible to all. The copy of the PTW displayed at the worksite shall be the Permit Holder copy. All other documentation associated with a task should also be displayed with the permit on site.

The Permit coordinator will retain the white copy of the PTW and display it in the permit rack in the Permit Coordination Facility as per section 3.4 for reference and control purposes, and for revalidation. Suspended permits and permits at various stages of preparation shall also be displayed in the appropriate folders of the permit rack

All PTW for active works shall also be displayed on the permit location board as described in section 3.4.

### Suspension

In the event that there is temporary unplanned stoppage of the work, then the suspension/re-validation column provided for in Section 5 of the permit is to be completed. If the suspension is expected to be of a relatively long duration (longer than the next crew change-out, for instance) then suspension is not favoured and the permit should be handed back and a new one is authorised for the next work period. Conversely if a short term, planned work stoppage is encountered e.g. a lunch break, tea break, suspension is not required.

The Permit Holder shall request for the PHSS copy (white) of the permit from the Permit Coordinating Facility and together with th

e pink copy, completes section 5 and indicate the reason for suspension.

Work being carried out under a permit may be suspended due to: -

- Changes in Operational Conditions

- Unacceptable Working Conditions

- Emergency alarm initiated

- Construction/work Conditions change

- End of Working day (for a single shift system)

- Waiting for Materials or Services

### Period of validity and Revalidation

The Permit to Work can only be issued and approved for a maximum period of 24 hours initially. However, work period is restricted to only the period or which it is stipulated.

The PTW can be re-validated daily for further twenty-four hour periods over a period not exceeding 6 consecutive days with the following provisions that:

- no change has occurred or is anticipated at the work site which may prove hazardous and could not be adequately managed under the stated precautions.

- the Project Holder Site Supervisor visits the work site, satisfies himself that it is safe for work to continue. He shall sign the “Validity and Renewal of Permit” box in Section 4 of the Permit to Work, and specifies date and time

### Handover of Work

#### Shift Handover

If, for any reason (e.g. shift change), there is a change in the Permit Holder during the course of the work, the work shall be properly handed over as provided for in the Permit To Work form.

PTW shall be transferred between day and night shift changes as follows:

### Permit Holders

At shift change, the out-going and incoming Permit holders must set aside sufficient time to discuss the work status from both the technical and safety aspects. The PTW should be reviewed at this time to ensure that it is fully understood.

Both the incoming and outgoing Permit Holders shall sign in the “Handover of Work” block in Section 4 of the Permit to Work. The incoming Permit Holder takes over full responsibility for the Work from the outgoing Permit Holder. If the “Validation and Renewal of Permit” or “Handover of Work” blocks in Section 4 of the Permit to Work are full then a new Permit shall be raised.

### The Project Holder Site Supervisor

The out-going and incoming PHSS carries out a comprehensive change of shift handover. The issue of Permit-To-Work in particular should be properly discussed in details and handed over formally in the handover note.

### Crew Change

### Permit Holder

If the permit holder who “accepted” the PTW is no longer available due to Crew Change, the work covered by the PTW may only continue if another equally competent Permit Holder takes responsibility for the work. The incoming Permit Holder must countersign the PTW to achieve this.

NOTE: Work cannot continue (or start) on a PTW unless the Permit Holder named on the PTW is actually in charge of the work.

### The Project Holder Site Supervisor

The incoming Project Holder Site Supervisor must ensure that they understand the scope of all the ongoing jobs and must then “Countersign” all PTWs

### The Project Holder Supervisor

The oncoming PHS should at the soonest practicable opportunity, become acquainted with the PTW status and “countersign” all ongoing PTWs.

### Changes in condition and Emergency situations

During the execution of the work, process or operational conditions may change e.g. the specified equipment or tools to be used may not be available, type of work may change (e.g. sudden need for hot work), unexpected release of gas from a nearby flange, or gas alarm or emergency in the area or weather condition may change.

### Changes in Work scope

Should conditions change in process, operation or work-scope then the work shall be stopped, and the Permit to Work withdrawn. A new Permit to Work shall be raised, taking into account the changed conditions, before work is allowed to recommence.

The Project Holder Site Supervisor shall stop work at his sole discretion whenever he considers that the conditions have changed to a level to warrant it or if the stated precautions are not being fully observed.

Any person can stop a job under a PTW if they discover any unsafe situation or find out that the stated precautions are not being followed.

### Emergency Action

On activation of the site/facility emergency alarms (except for pre-announced testing activity) all PTW’s shall be considered as suspended.

Work is to cease and the worksite is to be made as safe as practicable, without risking personal safety, before personnel proceed to their dedicated Muster Point or Emergency Station or follow other instructions. The location Emergency Response Commander authorises all activities that might be carried out during emergencies.

Work will not re-commence until the situation is resolved and an instruction to do so has been given.

### Work Completion

The hand back occurs when the permit is no longer required. This may be the case when work has been completed or cannot be continued due to lack of material, spare parts, etc. and it is preferred to close the permit and hand back rather than suspend for a long period of time.

When a PTW hand back is required, the Permit holder will collect the Pink and white copies of the permit and return to the PCF. In returning the permit the following criteria should be checked:

- The Permit Holder and the Project Holder Site Supervisor have inspected the worksite and jointly verified that the plant or equipment has been left in a safe condition

- That all isolations/overrides pertaining to the plant or equipment have been removed/cancelled, that Operations personnel know the status of any remaining isolations/overrides

- That the Operations personnel (or party) responsible for that area formally acknowledge his acceptance of the plant or equipment (or asset).

Only then shall the PHSS and the PH signs off the PTW under the “Hand back of Work” and “Work Acceptance and Closure of Permit” blocks of section 5. Permit hand-back can be for work to be continued on a new permit because the permit suspension columns of the form are exhausted or the permit has reached it maximum allowable life.

### Records

Following signing off, the Permit coordinator shall keep (in a file or any retrieval system) copies of the Permit to work, JHA and the Complementary Certificates for a period of at least 12 months. This is for reference purposes in case of an incident investigation or audit.

### Key Operational Guidelines

#### Policy on Hot Work in Hazardous Areas

Hot work (HW) is subdivided into Categories 1 and 2:

- Category 1 is work involving a positive source of ignition

- Category 2 is work involving a potential source of ignition

#### Restriction on Category 1 Hot Work

Category 1 Hot Work must not be undertaken in Hazardous Zones in which flammable fluids (with a flash point below 55°C) are present above atmospheric pressure, or where flammable fluids may be present at a temperature above their flashpoint.

If category 1 Hot Work is required to be carried out in such areas, this should normally be carried out in a planned shutdown period. However, where the Project Holder considers that the postponing of such work to a shutdown period is impractical, either:

- An ad-hoc shutdown is required, or.

- Exceptional precautions will have to be taken to allow Category 1 Hot Work in a Hazardous Zone

NOTE: In both cases approval from the Asset Manager is required.

If however, the area has been declared hydrocarbon free, the Asset Holder may authorise Category 1 Hot Work in the area.

#### Procedure for Approval of Exceptional Category 1 Hot Work

In situations where the Asset Holder considers that Category 1 Hot Work could be performed safely in a Hazardous Zone through the use of exceptional precautions, the situation must be referred to the appropriate Asset Manager except if the area has been declared hydrocarbon free. A detailed activity risk assessment shall be carried out and approved by the relevant discipline specialists/ technical authorities. The Asset Manager, after consideration with the specialist and HSE manager, may authorise the work.

#### Stoppage of Hot Work Following a facility Alarm

All Hot Work is to cease immediately on any change of facility status away from the normal. The exception to this is the operation of a Wireline unit where the Wireline crews are in radio/phone contact with the Control Room/AHSS. In this case, when an alarm occurs, the Wireline crew is to make immediaSWDAtact with the AHSS/Control Room, who will instruct them on what action they are to take.

On re-instatement of normal status, the Permit Holder shall obtain the authorisation of the Assert Holder Site Supervisor before restarting the Hot Work.

#### Hot Work Control

For each Hot Work activity, at least 2 portable dry powder fire extinguishers shall be available at the worksite. A trained, identifiable firewatcher shall be provided by the Applicant for the Hot Work Permit (or Operator delegated by the Project Holder Site Supervisor) to stand-by ready to operate this equipment during the period of the Hot Work.

### Active Permit – Number of Permit per Permit Holder

The Permit Holder is responsible for safe execution of the job and shall be present at site whenever work is ongoing to ensure all precautions are being observed based on assessed risk levels.

### Toolbox Talk – Briefing the workforce

The Toolbox Talk shall be held prior to the work commencing. It should preferably be held at the worksite but if this is not possible due to noise or other factors, it can be held after all members have visited the work site.

A Toolbox talk is vital to communicate the hazards, controls and individual responsibilities to all members of the work party. To complete the final part of the risk assessment process the whole work party is involved in identifying any additional hazards and controls, especially those specific to the site and the local conditions.

The most suitable person to conduct the Toolbox Talk will depend upon the type of hazard anticipated. If the major hazards arise from the work activity being executed then the Permit Holder or his supervisor are likely to be the most suitable. Questions from the work party are to be encouraged.

Toolbox Talk should address the following:

- The plan, scope of the day’s work

- The task specific potential hazards

- The people, competence in the required skill

- The Procedure – Sequential step by step work method statement

- The Environment.

- Learning’s from previous incidents ref. HSE Weekly Info. Pack

The Toolbox Risk Identification Card, TRIC is to be used for SHELL operations to record content, questions, answers and feedback. The person conducting the Toolbox Talk signs to confirm hazards and controls have been discussed and communicated with the work party. The meeting should be interactive to encourage full involvement of the work crew and engender ownership of the hazard analysis. All members of the work party shall sign the card to indicate understanding of the task, hazards and controls.

### Interface Operations

Work across areas and interaction between works in an area

In peculiar cases where there is work that crosses over the boundaries between two (or more) PTW areas of responsibilities, or for work that is to be done on an equipment owned by one PHS, in the area of another PHS, the second PHS (or PHSS) can counter sign the PTW or if there is need for greater control two cross referenced PTW can be issued.

### Area Classification

Zone 0

This is applicable only to where dangerous atmosphere will exist continuously with a release of the flammable mixture for long periods greater than 1,000 hours per year e.g. Vapour Space in Fixed Roof Tank, Rim Seal of Floating Roof Tank, and Open Oil Saver Pit.

Zone 1

This is applicable only to areas where a dangerous atmosphere is likely to occur at anytime during normal operations. Regular release of flammable mixture between 10 and 1,000 hours per year e.g. Vents, Drain Trays

Zone 2

This is applicable only to areas in which a dangerous (flammable) atmosphere can occur during abnormal conditions and not in normal operations. There is unlikely release or release of less than 10 hours per year e.g. Leakage due to plant failure or operational error

Other areas shall be considered as unclassified.

– CERTIFICATE FOR WORKING IN CONFINED SPACES

The Certificate shall be completed in block capitals except for signatures.

SECTION-1 Certificate Application

Section-1 is completed by the Permit Applicant and shall be specific and precise when describing the (exact) location and nature of the work.

SECTION-2 Type of Entry Condition and Precautions List

Section-2 is specified and completed by the ASSET HOLER SUPERVISOR by indicating in the box the type of entry condition and ticking off the required precautions.

The Asset Holder Supervisor specifies the types of gas test(s) that must be done prior to entry, and the frequency of subsequent tests.

SECTION-3 Approval To Proceed

The Company’s Asset Holder Site Supervisor shall check that all the precautions have been taken and that the initially specified gas tests have been carried out by an Authorised Gas Tester and that the concentrations or gases found render the space safe for the proposed type of entry.

If all the precautions have been taken, the gas tests are satisfactory and conditions are safe for entry, the Asset Holder Site Supervisor signs Section 3 approving entry into and work in the confined space.

The relevant section of the associated Permit to Work shall also be signed off at this time.

SECTION-4 Change In Entry Conditions

If conditions in the enclose space change from Hazardous to Non hazardous then the Asset Holder Site Supervisor signs in this section to indicate that precautions appropriate to non hazardous conditions can now be followed.

GAS TEST FORM

This form is used to record the results of the gas tests performed by the Authorised Gas Tester in accordance with the precautions specified in the Certificate for Work in Confined Spaces.

These shall be filed for a minimum 12-month period.

## GAS TEST FORM							GAS

| GAS TEST FORM Complementry to PTW serial no………. |  |  |  |
| --- | --- | --- | --- |

Facility: ……………………..…….……Exact Location: ……………………………………….

| Flammable gas test approved gas tester name: …………………… |  |  |  |  |  |  | Ref. Ind:…………….. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Time | LEL % | Signature | Date | Time |  | LEL % | Signature |

Oxygen concentration test. Approved gas tester name: ………….……………. Ref. Ind.:…………..

H2S/ Toxic gas test. Approved gas tester name: …………………………………. Ref. Ind.:…………..

## Permit-to-work monitoring checklist

1 This checklist is intended to be used for the day-to-day monitoring of permits in use.

| Date: |  | Time: | Active: |
| --- | --- | --- | --- |
| Permit type: |  | Reference number: | Complete: |
| Reviewer: |  | Position: | Installation: |
| Appended certificates: | (list) |  |  |

If any unsafe conditions are found, the work must be stopped and the issuing authority and the performing authority notified immediately.

|  |  | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Is the scope of work clearly specified? |  |  |  |
| 2 | Are necessary risk assessments available for review? |  |  |  |
| 3 | Are identified hazards listed on the permit-to-work? |  |  |  |
| 4 | Are appropriate precautions listed on the permit-to- |  |  |  |
|  | work (including clearly specified isolations)? |  |  |  |
| 5 | Is the operational time limit of the permit clear? (Are |  |  |  |
|  | extensions properly authorised?) |  |  |  |
| 6 | Are certificates completed properly and appended to |  |  |  |
|  | the permit? |  |  |  |
| 7 | Are other area or system activities cross-referenced |  |  |  |
|  | correctly via the permit? |  |  |  |
| 8 | Are copies of permits, certificates and attachments |  |  |  |
|  | legible? |  |  |  |
| 9 | Are signatures and initials traceable and legible? |  |  |  |
| 10 | Are copies of permits and certificates posted at |  |  |  |
|  | correct locations? |  |  |  |
| 11 | Are attachments, drawings etc held at the correct |  |  |  |
|  | locations? |  |  |  |
| 12 | Are users briefed on the permit-to-work, and have |  |  |  |
|  | they acknowledged understanding of requirements? |  |  |  |
| 13 | Do people know what to do in the event of |  |  |  |
|  | emergency? |  |  |  |
| 14 | Are isolations appropriate for the task, clearly |  |  |  |
|  | specified on the permit or isolation certificate, and |  |  |  |
|  | correctly implemented? |  |  |  |
| 15 | Are common isolations cross-referenced? |  |  |  |
| 16 | Are the right people aware of isolated equipment? |  |  |  |
| 17 | Is the area authority aware of the work? |  |  |  |
| 18 | Is the work carried out in conformance with the |  |  |  |
|  | permit? |  |  |  |

|  |  |  |  | Yes | No | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| 19 | Are control measures and personal protective |  |  |  |  |  |
|  | equipment appropriate for the task? |  |  |  |  |  |
| 20 | Are tools and equipment suitable and in good |  |  |  |  |  |
|  | condition? |  |  |  |  |  |
| 21 | Are housekeeping standards satisfactory? |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |
| Reviewer: |  |  | Signature: |  |  |  |
| Performing authority: |  |  | Signature: |  |  |  |