Document Tittle:

SWDA MANAGEMENT

OF

CHANGE PROCEDURE

Document Number: SWDA –06- 2025

Document Version: 1

Date: JULY 2026

INTRODUCTION

Management of Change (MOC) is a process that shall be followed in all SWDA installation and facilities, to conduct any major or critical change or modification or exemption in any work activity, procedure, process, standard, equipment, management system or other areas of SWDA operations or activities.

The MOC is a process to utilize the basic structures and tools to control the organizational change of efforts. The goal of the MOC is to maximize the organizational benefit and minimize the change impact on the employees, equipment or asset and develop a system of accountability.

No modification to the Original Design of an Installation, Equipment or system shall be carried out on any SWDA installations without prior approval from SWDA Management as per Management of Change (MOC) Process.

In the revised version the following were added; Changes before, or Changes during the execution of confined space entry , Zero-man entry, sludge removal and waste management. Third party equipment installation interface, the different levels of equipment change or modifications and the approval authorities. Safety Critical Elements, SWDA Hazard Card Methodology.

\

POLICY

Change to plans, situations or events must be recognized and the associated risks managed.

PURPOSE

The purpose is to define the requirements and process to manage changes (temporary or permanent) that are controlled and managed by SWDA operations.

SCOPE

This Change shall be applicable to all SWDA Group installations and facilities and this includes

- Permanent and temporary modification in plant and equipment, including control system software

- Changes to Trip and alarm settings

- Operational alarm inhibits and overrides

- Operating and maintenance procedures that impact the way activities are executed and have an impact on the delivery of business objectives

- HSE critical activity mapping as a result of organizational changes which impact HSE critical roles and temporary appointments to HSE critical roles.

- Organisation.

DEFINITIONS:

Change: Becoming different, modified or altered

Note: Change may be permanent or temporary

Exemption:

When a new or revised plan does not comply with the Company Management System procedures, an exemption from that procedure is required

Change Owner:

The change owner is the individual that will own the management of change process through to closure

Initial Requestor/Initiator:

The initial requestor is the individual/team that prepares and present the management of Change form for approval by line management.

Significant Organizational change:

This is a modification to the reporting relationship or purpose of entire functions or geographical components of the organization or when key positions (e.g. in the management of organization or as specified in client contract) are changed in terms of assigned individual, roles, responsibilities and authorities

Exemption (MOC) Process:

In an emergency the MOC process can be exempted. The responsible manager has the authority to take the decision based on the given situation during any emergency and bypass the MOC Process or any SWDA Policy/Procedure based on the presented emergency. The emergency situation includes, but not limited to, the following:

- The changes required to correct a deficiency that would cause the hazardous situation and that is an immediate threat to the Safety of the personnel, the environment or the asset.

- The process that must be changed to prevent the environmental release.

- The changes required during the emergency.

However, the detailed report of the incidents shall be submitted to the SWDA Management by the responsible manager and the lessons learned shall be noted and documented. These lessons shall become the basics of the Management of change policies and procedures.

Requirements for Management of Change Process

Changes Before Mobilization

Examples include:

- Change in cleaning technology

- Change in tank cleaning methodology

- Addition of new cleaning chemicals

- Alternative waste treatment methods

- Mobilization of different equipment

- New subcontractor engagement

- Changes to work scope

- Changes to project schedule

- Changes to HSSE procedures

Changes During Execution

Examples:

- Failure of remote cleaning equipment

- Replacement of vacuum trucks

- Additional sludge discovered

- Higher sludge volume than estimated

- Failure of gas detection equipment

- Change in waste disposal location

- Unexpected hazardous atmosphere

- Additional environmental controls

- Modification of exclusion zones

- Change in work sequence

- Temporary deviation from approved procedure

HSSE Risk Evaluation

Before approval, the MOC Team shall evaluate:

- Personnel Safety

- Confined Space Hazards

- Toxic Gas Exposure

- Oxygen Deficiency

- Fire and Explosion Risks

- Equipment Integrity

- Environmental Pollution

- Waste Handling Risks

- Security Risks

- Regulatory Compliance

- Client Requirements

- Operational Continuity

Risk assessments shall be completed using the Company Risk Assessment Matrix.

Any High or Extreme Risk shall require senior management approval before implementation.

EVALUATION OF HSSE RISKS & METHODOLOGY

All risks identified with RAM red or yellow 5A or 5B status require a High priority risk level of authority for approval. Risk evaluation is required by frontline field supervisors/Engineers in direct consultation with the Technical Authorities as may be applicable and referencing simple questions, such as: Can someone, i.e, a crew member, potentially die or get injured while executing the change as is currently conceptualized or proposed?

Evaluate if the proposed change activity has any fatality or injury potential, i.e. check if the involved work scope contains any step(s) or sub-steps that fall(s) under any of the 12 Life Saving Rules (Appendix 5).

Apply the SWDA Hazard-card methodology to capture hazard categories and advise RAM severities as may be applicable (Appendix 6).

Note all TA approval requirements.

THIRD PARTY EQUIPMENT INSTALLATION INTERFACE

Clients’ operations often require equipment be mobilized and installed at the facility to progress execution efforts. Experience has shown that this specific interface can potentially result in blind spots if not properly managed. Injuries and even fatalities have been known to occur due to poor management of change.

Client representative(s) or SWDA supervisor as may be applicable are the accountable persons to ensure that all hazards and risks associated with such hardware(s) are fully evaluated prior to putting to use on site.

A risk assessment team  is recommended to ensure full risk evaluation is achieved:

Equipment include:

- Third-party Vacuum Trucks

- High-pressure Jetting Units

- Automated Tank Cleaning Machines

- Sludge Pumps

- Temporary Storage Tanks

- Mobile Treatment Units

- Portable Generators

- Air Compressors

- Gas Detection Equipment

- Temporary Electrical Installations

A joint inspection shall be carried out before equipment is put into service.

A formal acceptance is required by Client to confirm that all risks have been properly evaluated.

Approval Authority Matrix

| Change Category | Examples | Approval Authority |
| --- | --- | --- |
| Level 1 (Low Risk) | Temporary barriers, signage, lighting improvements, housekeeping arrangements | Site Supervisor + HSSE Officer |
| Level 2 (Medium Risk) | Replacement of vacuum truck, sludge pumps, generators, temporary waste storage tanks, additional monitoring equipment | Project Manager + HSSE Manager |
| Level 3 (High Risk) | Change in ZME methodology, alternative cleaning technology, changes affecting confined space controls, changes to emergency response, changes to waste treatment process | Operations Manager + HSSE Manager + Managing Director |
| Critical Changes | Deviations from client HSSE requirements, Life-Saving Rules, statutory requirements or permit conditions | Managing Director + Client Representative (where required) |

Documentation/Awareness:

All the MOC shall be documented with the appropriate drawings, calculations, certificates, conformances, formats, document changes, processes etc.

Exemptions and Deviations from the HSSE Management System

An exemption or deviation shall only be considered where compliance with an approved HSSE Management System procedure is temporarily impracticable and an alternative method can achieve an equivalent or higher level of risk control.

No exemption shall be granted for:

- Nigerian statutory requirements

- Life-Saving Rules

- Legal requirements

- Environmental permit conditions

- Emergency response requirements

- Any activity that introduces an intolerable risk

Every exemption request shall include:

- Description of the deviation

- Justification

- Risk Assessment

- Additional control measures

- Duration of exemption

- Monitoring requirements

- Close-out plan

Approval Process

| Step | Activity | Responsible Person |
| --- | --- | --- |
| 1 | Identify the need for exemption | Supervisor |
| 2 | Complete Exemption Request Form | Supervisor |
| 3 | Conduct Risk Assessment | HSSE Officer |
| 4 | Develop additional controls | Risk Assessment Team |
| 5 | Review technical justification | Project Manager |
| 6 | Review HSSE risks | HSSE Manager |
| 7 | Approve or reject | Operations Manager/Managing Director |
| 8 | Client approval where required | Client Representative |
| 9 | Implement approved controls | Site Supervisor |
| 10 | Monitor implementation | HSSE Officer |
| 11 | Close-out exemption | HSSE Manager |

Responsibilities:

- Managing Director

- Operations Manager

- Project Manager

- Site Supervisor

- HSSE Manager

- HSSE Officer

- Maintenance Supervisor

- Logistics Coordinator

- Environmental Officer

- Waste Management Supervisor

- Equipment Operator

- Client Representative (Renaissance)

RESPONSIBILITY

ALL PERSONNEL:

    - Use START to monitor the plan and recognize when the plan is no longer suitable.

    - Use THINK to formulate and communicate the plan.

    - Use FOCUS to develop corrective and improvement opportunity plans.

    - Use THINK and START together as the simplest form of Management of Change for an individual.

    - Recognize changes to the plan and interrupt the task (stop the job) to assess the change and any new risks.

Figure A, Management of Change Process, Simple Approach

REQUEST FOR EXEMPTION Requested by:____________________________________________________ Date: Manual Title:____________________________________________________ Document No: Procedure Title :____________________________________________________ Installation/Facility:____________________________________________________ - REASONS FOR REQUESTING EXEMPTION FROM COMPANY PROCEDURE(Attach drawing or pictures if necessary for clarification. WHAT IS THE ALTERNATVE PROCEDURE? (include means to effectively monitor and control the risks that would normally be addressed by the approve company management systems procedure). AUTHORISATION. OPERATIONAL LIMITS OF EXEMPTION: (If the operation exceeds the authorised operational, the exemption is no longer valid. DEPARTMENT HEAD AUTHORISATION. PERIOD OF VALIDITY OF EXEMPTION; DATE FROM:; DATE TO:. OIM/FACILITY MANAGER:______________________ ___________________________________ __________________________________ (NAME) (SIGNATURE) (DATE) OPERATIONS MANAGER:______________________ ___________________________________ __________________________________ (NAME) (SIGNATURE) (DATE) EXECUTIVE DIRECTOR OERATIONS :_________________________ ___________________________ _____________________________ (NAME) (SIGNATURE) (DATE)

| SWDA GROUP HSE-FORM NCR & CAR- 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This form is to be used to document the permanent changes or design retrofits to any SWDA Group component, with particular references to straddle the intended modifications, Reasons, Scope and engaging Top management approvals to validate re-modification. Responsible Party or Originator of this change shall complete this form and submit it to the Rig Manager for any integrity review. When a client or Third Party is responsible for a change, this form should be prepared and escalated to ensure Top Management approvals in consonance with the SWDA Group MOC procedures. Upon final approval this form shall be entered into a system modification register and duly catalogued. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - NCR DETAILS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NCR Number |  |  |  |  |  |  |  |  | Equipment Serial Number |  |  |  |  |  |  |
| Facility Name |  |  |  |  |  |  |  |  | Equipment Description |  |  |  |  |  |  |
| Service Provider |  |  |  |  |  |  |  |  | Standard Reference (if applicable |  |  |  |  |  |  |
| Date of Event |  |  |  |  |  |  |  |  | Job Audit Number |  |  |  |  |  |  |
| Date Sent to Responsible Party |  |  |  |  |  |  |  |  | Well Name |  |  |  |  |  |  |
| Service Provider Contract Name |  |  |  |  |  |  |  |  | Service Type |  |  |  |  |  |  |
| Severity Level |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - OBSERVATION/DESCRIPTION/REMEDIAL ACTION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Observation: Remedial Action: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - ASSOCIATED RISKS (Ii change is affected) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment |  |  |  |  |  | Procedures |  |  |  |  |  | Personnel/Environment |  |  |  |
| CORRECTIVE ACTIONS/DESIGN PHOTOGRAPHS (IMAGES) DEPICTING CHANGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - APPROVALS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Action |  | Position |  |  |  |  | Name |  |  |  | Signature |  |  | Date |  |
| Initiated by: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Prepared by: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reviewed/ Endorsed by: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Endorsed by: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Approved: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Approved by: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Implementation Priority Definitions: |  |  | Measurement: |  |  |  |  |  |  |  |  |  |  | Impact of Change |  |
| Low Priority |  |  | Low Priority is the change that is justified and necessary; however, can wait until the next scheduled release or upgrade. A specific implementation date shall be allocated to implement the low priority change |  |  |  |  |  |  |  |  |  |  | Minor |  |
| Medium Priority: |  |  | Medium Priority shall be given to a change that has no severe impact on the personnel, equipment, system, process, procedure or operation, however, the rectification cannot be deferred until the next scheduled release or update of activity or operation. Medium Priority changes that shall be implemented within 1 week. |  |  |  |  |  |  |  |  |  |  | Moderate |  |
| High Priority: |  |  | High Priority shall be given to a change that may severely affect the personnel, equipment, system, process, procedure or operation (other than emergency). High priority changes are the changes that shall be implemented within 48 hours. |  |  |  |  |  |  |  |  |  |  | Major |  |
| Emergency: |  |  | The Emergency Changes shall be implemented immediately according to the situation |  |  |  |  |  |  |  |  |  |  | Severe |  |

SWDA Hazard-card methodology

SIGNIFICANT INCIDENTS (WITH MOC IMPLICATION)

|  | Incident | Date Occurred | Impact |  |
| --- | --- | --- | --- | --- |
|  | Piper Alpha | 6th July 1988 | 165 crew and 2 rescuers lost their lives, only 62 |  |
|  |  |  | Survived |  |
|  |  |  | ∙ The platform was totally destroyed |  |
|  |  |  | ∙ It remains the worst single loss of life in the oil |  |
|  |  |  | and gas industry |  |
|  | Afam-23 Flash Fire during well testing | 23rd May 2008 | No fatality, 1 person suffered 2nd degree burn about 60% |  |
|  |  |  | of his body, medivaced for specialist treatment in South |  |
|  |  |  | Africa |  |
|  | Iriama pipeline flash fire | 13th November 2008 | 7 fatalities, 1 person critically injured |  |
|  | BP Macondo | 20th April 2010 | 11 fatalities |  |