SPILL EMERGENCY RESPONSE FLOWCHART

Spill Identifier, shut in spill outlet if possible

Informs Supervisor/DSV

Spill Team Activated by  Sup/DSV

Water Qty < 1bbl

Apply Absorbent boom Skim into drum and dispose as client Management plan Clean with absorbent sheet/roll

Document incident

Clean Up Procedure Initiated

Spill Location Deck/Top Barge

Qty < 1bbl

Contain with absorbent pillows

Skim into dedicated drum Clean area with dedicated drier. E.g Bara clean

Mop surface with roll/sheet

Land Qty < 2bbl

Encircle spill with earth ring

Skim into drum Dispose spill as per client waste management plan Apply absorbent sheet or

roll to area

DSV activates spill containment team

Team deploys spill control equipment

Skim into drum in boat lean with absorbent sheet/roll Rig Deck/Top Barge Qty > 1bbl

Deploy spill control equipment to contain spread

Land Qty > 2bbl

Make trenches/pit aroundspill area

Skim into drum evacuate with vacuum truck to flow